| SITE | TYPE | INCIDENT DESCRIPTION | DATE | STATUS & ACTION TAKEN |
| --- | --- | --- | --- | --- |
| Charlie | 1 | Perimeter Fence and Exterior Security Assessment 26C-0054 | 9/9 | CLOSED – No deficiencies were noted. |
| Charlie | 1 | Building Perimeter Doors Security Assessment 26C-0055 | 9/10 | CLOSED – No deficiencies were noted. |
| District | 1 | Water Leak Outside of Building 26DR-0026 | 9/9 | OPEN – Water Leak Outside of Building. Sprinkle Pipe broke outside next to the East entry door. No water came inside the building. Water was shut off by the Facility Manager. Facility Manager is awaiting repairs from technicians. |
| District | 1 | Weekly Security Assessment 26DR-0027 | 9/10 | OPEN – The following deficiencies were noted: Building Light #5 is not operational. Parking Lot Light is not operational. Facility Manager is still waiting for repairs from technician. |
| India | 3 | Scheduled Power Outage 26I-0059 | 9/4 | CLOSED – Scheduled Power Outage Scheduled outage for generator / main power renovations. Supplemental generators are installed until the main power is restored. Main power restored successfully ahead of the original scheduled date. No lasting effect on the facility. Operations are now normal. |
| India | 1 | A100 Ceiling Leak 26I-0060 | 9/7 | CLOSED – A100 Ceiling Leak Minor leak found on A100 with no effect on product. Leak patched and under monitoring from 3PL staff as a precaution. |
| India | 1 | Building Perimeter Doors Security Assessment 26I-0061 | 9/9 | CLOSED – No deficiencies were noted. |
| Lima | 1 | Building Perimeter Doors Security Assessment 26L-0046 | 9/9 | OPEN – The following deficiencies were noted: Complete Building Perimeter Doors. Door #204 failed to call up due to the Camera INT FX 27-204 shot is misaligned. Facilities were notified. |
| Papa | 1 | Building Perimeter Doors Security Assessment 26P-0075 | 9/9 | OPEN – The following deficiencies were noted: Complete Building Perimeter Doors. Doors M29, M34, M36 and Alarms room do not receive an audible alarm. Facilities were notified. |
| Papa | 1 | Perimeter Fence False Alarm Zone 5 26P-0074 | 9/8 | OPEN – Perimeter Fence False Alarm Zone 5 Zone 5 falsely triggers. Facilities were notified. |
| Sierra | 1 | Pedestrian Gate Equipment Failure 26S-0048 | 9/4 | OPEN – Pedestrian Gate Equipment Failure Magnet on pedestrian gate has broken off the wire due to a stripped screw Facilities were notified |
| Sierra | 1 | Building Perimeter Doors Security Assessment 26S-0049 | 9/9 | OPEN – The following deficiencies were noted: OHD #163 did not trigger a visual call-up OHD #72 did not trigger an audible alarm or visual call-up PED #106 did not trigger and audible alarm or visual call-up Facilities were notified |
| Sigma | 1 | Building Perimeter Doors Security Assessment 26G-0047 | 9/10 | CLOSED – No deficiencies were noted. |
| Tango | 1 | Building Perimeter Doors Security Assessment 26T-0042 | 9/7 | CLOSED – No deficiencies were noted. |
| Victor | 2 | Pedestrian Gate Magnet Broke 26V-0073 | 9/10 | CLOSED – Pedestrian Gate Magnet Broke. Repairs were made by technician The pedestrian gate is fully operational. |
| Victor | 1 | Building Perimeter Doors Security Assessment 26V-0074 | 9/10 | CLOSED – No deficiencies were noted. |
| Whiskey | 1 | Building Perimeter Doors Security Assessment 26W-0065 | 9/9 | CLOSED – No deficiencies were noted. |
| Xray | 1 | Building Perimeter Doors Security Assessment 26X-0057 | 9/7 | OPEN – The following deficiencies were noted: Complete Building Perimeter Doors Man-Doors M16, M17, M18, M19, M20, and M21 are offline due to construction. Man-Doors 6, 8, 9, 29 do not open all the way. Man-Door M17 unserviceable Plates. Facilities were notified. |